## Slide 1
DC Water Asset Management
Project – 4
And
Final
Presentation
April 22, 2024
    Erin Cooper
    Eyasu Yilma

## Slide 2
Predict Risk to Critical DC Water Assets and
Determine Cost Impact to various User Jurisdictions
Notes: DC Water asset, the Potomac Interceptor, is a 50 mile long series of pipes that brings water to 1.6 million people from Fairfax, VA to parts of DC and Mongomery County, MD. When a pipe segment is damaged or degrades to the point that it is no longer safe it can be expensive to repair and the costs of those repairs might be shared between jurisdictions depending on whether or not that pipe segment shares territor with a neighbor. Our project took a look at Patomac Interceptor pipe system in order to predict risk to critial water assets and determine the cost impact to various user jurisdictions.

## Slide 3
Flow per user
Labor Hour Per Location
Pipe Condition
Inspection cycle
Predict
Risk per location
User Cost Share
Cost Impact of Collapse
Visualization
SQL
SQL
Python Pandas
ML
ML
ML
Flow
and cost analysis
Tableau
Location Description
Leaflet
Data Import
(IBM Maximo & DC Water Report
Project Workflow Chart
Notes: As pictured in the flow chart here, we used SQL to join labor data from IBM Maximo and water flow data from the DC Water Report to calculate flow per user labor hours per location. We then exported that data for use in our cost and flow share analysis and our machine learning risk prediction model per location and created vizualiztions in Tableau.

## Slide 4
DC Water Asset, The Potomac Interceptor, serves 1.6 million, 55 mgd, 50 mile long
Notes: We also produced a Leaflet map of the manholes serving each pipe segment with popups displaying each segment's coordinates as well as the length, slope, and pipe diameter over the entire selected water flow route.

## Slide 5
Notes: And the following chart lays out where each jurisdiction meets up along the length of the Potomac Interceptor's route, starting in Dulles and branching into Herndon, Montgomery County, MD, and into the District and what manholes specifically delineate those borders. Each branch is numbered. These are the primary flow divisions in our data and will be used to calculate cost and flow share and the pipe inspection data will be used to populate our risk prediction model.

## Slide 6
Risk Prediction
Using
Supervised Machine Learning

## Slide 7
Data Import
Target & Feature
Separation
Reading CSV File

## Slide 8
Get dummies
Separate Data
Training & Testing Subset
Encode the categorical variables using get_dummies

## Slide 9
Scale data
Instantiate Classifier Instance
Fit the Model with Training data
Scale the & Sklearn

## Slide 10
Make Prediction

## Slide 11
Resampled Dataset

## Slide 12
Confusion Matrix

## Slide 13
Flow Share Calculation
Using
SQL
Python Pandas

## Slide 14
Data Acquisition
Maximo - Labor hours per Job number
User Jurisdiction - Flow Report
DC Water - Asset Database
Consultant/Contractor Report - Pipe Inspection data

## Slide 15
Data Preprocess and Filtering
Upload in SQL
Join using location Id
Download CSV
Import Python Pandas

## Slide 16
District Flow

## Slide 17
Suburban User

## Slide 18
Flow Share Cont’s

## Slide 23: Output and Visualization with Tableau

## Slide 29: Thank You !